**Note:** The reading in iced water should be between -1°C to 1°C. If it is outside this range, the thermometer should be repaired.

The reading in boiling water should be between 99°C and 100°C. If outside this range, the thermometer should be repaired.

Probe thermometer details

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer reading iced water** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer reading boiling water** |  |  |  |  |  |  |  |  |  |  |
| **Signature** |  |  |  |  |  |  |  |  |  |  |

Probe thermometer details

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer reading iced water** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer reading boiling water** |  |  |  |  |  |  |  |  |  |  |
| **Signature** |  |  |  |  |  |  |  |  |  |  |